# QATAR GENERAL ELECTRICITY & WATER CORPORATION

(KAHRAMAA)

# WATER NETWORKS AFFAIR

## Technical Evaluation of main laying Materials ## for KM Water Works ## Questionnaire

Prepared by:

Materials Standards & Specifications Section

### Water Planning Department

Tel: (974) 4438-5755/56

Fax: (974) 4484-5921

P.O.BOX: 41 Doha, Qatar

Local Manufacturer/Local Agent who wishes to approve his products, should complete the following questionnaire attaching all requested documentation as stated below.

Submittal must be made officially with covering letter (Reference Number & Dated) addressed directly to Material Prequalification Committee, Qatar General Electricity & Water Corporation, Doha, Qatar. A letter of introduction of the proposed products, highlighting the merit of the product, which includes all annexes listed in this questionnaire shall be submitted by authorized local agent in the State of Qatar.

Please reply in detail. All information and must be typed, since handwritten submittals will not be accepted, utilizing separate sheet if space is insufficient.

- Materials to be Evaluated for Main Laying Materials of KM Water Networks and Associated Works Only

Which material(s) below you want them to be evaluated? (Range Size (mm) / Model) :

| S. N. | Material Descriptions * | Model | Size Range | Comment. |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

(*) :

  - Ductile Iron Pipes & Fittings

  - Coupling, Flange adaptors and dismantling joints

  - Wrapping Tape, Putty & Primer

  - Polythene sleeve, Trench Marker Tape

  - Heat Shrink Sleeve, Putty

  - Gate Valve

  - Butterfly Valve

  - Air Valve

  - Check Valve

  - Fire Hydrants

  - Surface Box and Manhole Cover

  - Marker Post & Indicator Plate

  - Copper Tubes

  - Gunmetal Fittings, Ferrule & Saddle

  - DZR Brass

  - Stop cocks

  - District Flow meter /domestic water meter/ bulk water meter

  - Stainless steel Repair clamps

  - uPVC Duct for road crossing

  - Pumps

  - EPDM Rubber

  - Bolts, Washers & Nuts

  - Others

- General Information

  - For Manufacturer (it’s mandatory that Factory must be owned by the Manufacturer)

    - Name	: _____________________________________________

Address: ____________________________________________

Tel. No: _____________________________________________

Fax No: _____________________________________________

Country of Registration: ________________________________

Year of Registration: __________________________________

Authorized Capital (In QARs): _________________________ (1 US$=3.65 QARs.

    - Regional Office in Middle East, if any? If (Yes) give specific details:

__________________________________

__________________________________

__________________________________

    - Brief Description of the Business:

_________________________________________________________	                                               _________________________________________________________	                                               _________________________________________________________

    - Location & Address of the Factory:

_________________________________________________________	                                                 _________________________________________________________	                                                _________________________________________________________

    - Provide Factory Industrial Certificate.

    - Location & Address of the Foundry (All foundries must be listed):

_________________________________________________________

_________________________________________________________

_________________________________________________________

    - Are you manufacturing complete product? If (No), give specific details:

_________________________________________________________

_________________________________________________________	                              ______________________________________________________

    - All materials must be subject to warranty period of minimum 5 years; the duration of       warranty is subject to evaluation of Water Planning Department, please provide warranty certificate.

    - Whether your company / Factory has changed its name in last 10 years?

If yes, give details. _____________________________________________

  - Local Agent or regional office in State of Qatar

    - Name	:	________________________________________

________________________________________

Address:	________________________________________

________________________________________

Tel. No:	____________________

Fax No:	_____________________

Authorized Person: ____________________

Contact Person: ____________________

    - Provide original OR notarized copy of valid ISO certificate.

    - Provide a copy of Qatari Commercial Registration.

    - Validity of Agency Agreement: __________________

(Provide copy of valid Agency Agreement - 1-year minimum)

    - Provide confirmation letter to confirm that all orders and delivered materials related to Kahramaa Water Network must be done through the mentioned Local Agent only, and the approved local agent exclusively has the right to grant a non-objection certificate (NOC) for any local company to supply materials from Kahramaa approved vendor list.

    - In case of the manufacturer appointing a new local agent /sole-distributor, the manufacture/local agent must provide the following requirements;

- Letter to inform Kahramaa for appointing a new local agent /sole-distributor.

- Letter of clearance must be submitted by the manufacture and the current local agent showing that nothing is pending between both parties.

- Submit a new Technical Evaluation of Main Laying Materials of KM Water Works Questionnaire along with the updated certificates.

- Submit new Agency Agreement.

- Submit Commercial Registration and ISO 9001: valid Certificate for the new local agent

Note:

If there are pending orders for materials under process, the manufacturer shall abide to previous agreements and supply the materials through the current local supplier, and allow the previous local agent to continue supplying stock available with Kahramaa approval and with following Kahramaa rules and regulations for approval/inspection procedures, please confirm the validity period of the previous agency agreement will be considered cancelled once the new agreement is finalized.

    - Do you have any other local agent in the past?  If yes, give details.

- Contracts Details for the products (only for new product used in potable water network), please provide copy of the following:

  - Approval letter from Water Authorities of GCC Countries.

  - “Performance Record” certificate from GCC Countries within their Water Authorities.

  - A list of 5 years minimum successful record of supply in GCC Water Authorities.

  - A list of 15 years minimum successful record of supply in international markets with Water Authorities.

A. Completed contract in GCC Countries for the last 5 years:

| S.N. | Year | Country | Client | Name of Work | Amount in QARs. |
| --- | --- | --- | --- | --- | --- |

B. Completed contract in International Markets for the last 15 years:

| S.N. | Year | Country | Client | Name of Work | Amount in QARs. |
| --- | --- | --- | --- | --- | --- |

C. Details of recent three completed contracts in GCC countries related “Water Authorities”

          - Submit Agreement and Shipping Documents for the related contract.

          - Submit copies of completion certificate of each contract.

| S.N. | Description | Contract No. 1 | Contract No. 2 | Contract No. 3 |
| --- | --- | --- | --- | --- |
| 1 | Contract No. |  |  |  |
| 2 | Name of Work |  |  |  |
| 3 | Name of Client |  |  |  |
| 4 | Country |  |  |  |
| 5 | Amount in QARs |  |  |  |
| 6 | Date Started |  |  |  |
| 7 | Date Completed |  |  |  |
| 8 | Main Items |  |  |  |
| 9 | Inspecting |  |  |  |
| 10 | Agency |  |  |  |

D.	Details of Current Contract in GCC countries related “Water Authorities”:

| S.N. | Country | Client | Expected Date of Completion | Amount in QARs. |
| --- | --- | --- | --- | --- |

- Technical Information

  - Submit detailed original catalogue.

  - Give names & number of international standard codes used in manufacturing of the related proposed products in compliancy with General Specifications of Main laying Materials for Water Works (WP-WPM-P1/S1_latest issue; if standards are different from specified KM Specification provide Equivalent Statement.

  - Submit ISO 9001Certificate, for the manufacturer & subsidiary foundries.

  - Submit Conformity Certificate for manufacturing the proposed product in                          accordance to the above related international standards, Issued by an accredited third-party        laboratory.

  - Submit Health Certificate in accordance with “BS6920” to be in direct contacts with potable water (Process Water Temperature +50ºC with added CL2/CLO2 (Chlorine/Chlorine Dioxide) at temp.+50°C), by one of the following Worldwide Known Quality Body Certifiers e.g. (e.g. WRAS, WRC, DVGW, DWI, KIWA and NSF61).

Note: Please attach the full test report -from the certifier- for the raw material, product including the product name, test conditions, methods of extraction and temperature at which sample have been tested.

  - Submit Certificate of clearance of “Radioactive Material”, Raw and scrap for factory and subsidiary foundry.

  - It is mandatory to submit Compliance Statement against section (1) and the section related to the evaluated product of the “General Specification of Main Laying Materials for Water Works” Typical Compliance Statement schedule as shown below:

| Compliance Statements Against Kahramaa Specifications |  |  |  |  |
| --- | --- | --- | --- | --- |
| KM Specification | Comply with KM Specification |  | Reasons for Not Comply | Appendix or supporting document/remark |
|  | Yes | No |  |  |

  - How long you have been manufacturing your product? And what is your capacity?

Give data of production per year.

  - Give details of manufacturing process and procedure, from Raw material to finished product.

  - Submit your QC/QA documents of manufacturing procedure for the Manufacturer & subsidiary Foundries.

  - Submit annual Report of Manufacturers for the last 3 years.

- Enclosures: Should be Typed Filled-up by Yes , No or NA as Check List:

| Sr. No. | Description | Appendix Reference No. |  |
| --- | --- | --- | --- |
|  |  | Yes / No / NA* | Ref. No. |
| 5.1 | Letter of Application from Local Agent. |  |  |
| 5.2 | Factory Industrial Certificate |  |  |
| 5.3 | Local Agent ISO 9001Certificate |  |  |
| 5.4 | Copy of Local Agency Agreement of minimum validity One year. |  |  |
| 5.5 | Copy of Commercial Registration of the appointed Local Agent |  |  |
| 5.6 | Annual Report of Manufacturers for the last 3 years. |  |  |
| 5.7 | Warranty Certificate |  |  |
| 5.8 | Original Catalogues of the product. |  |  |
| 5.9 | Health Certificate (Hot Water for at temp. +50°c (for hot water operations +50C) from a Certified Worldwide Known Quality Body Certifiers (Non-Toxicity certificates) |  |  |
|  | - Cement lining |  |  |
|  | - Bituminous Paint |  |  |
|  | - Epoxy lining |  |  |
|  | - Polyurethane lining |  |  |
|  | - EPDM rubber gasket or rubber lining |  |  |
|  | - Lubricant |  |  |
|  | - PE Materials |  |  |
| 5.10 | Manufacturer ISO 9001, must be a valid certificate |  |  |
| 5.11 | Foundries ISO 9001, must be a valid certificate |  |  |
|  | Certificate of clearance of “Radioactive Material” Raw and scrap for factory and subsidiary foundry |  |  |
| 5.12 | Manufacture Factory’s Conformity Certificate |  |  |
| 5.13 | Copy of Approval from Water Authorities of related product in GCC Countries |  |  |
| 5.14 | Copy of manufacturing process and procedure. From raw materials to finished products. |  |  |
| 5.15 | Permission of factory auditing by KAHRAMAA |  |  |
| 5.16 | Compliance Statement against the latest KM “General Specification of Main Laying Materials for Water Works & subsequent modifications, and each section related to the material evaluated |  |  |
| 5.17 | Performance record certificate form GCC Countries within their Water Authorities. |  |  |
| 5.18 | Successful record of supply in GCC Countries within their Water Authorities -for the past 5 years. |  |  |
| 5.19 | Successful record of supply in the International Market within Their Water Authorities for the past of 15 years. |  |  |
| 5.20 | QC/QA documents of manufacturing procedure for the Manufacturer & subsidiary Foundries. |  |  |

*N/A Not Applicable

Note:

- All submitted certificates shall be in Arabic or English Version either “Original” OR “Notarized.

- All submitted Certificates shall be valid.

- All pages shall be typed, signed and Stamped with Original Seal of the Manufacturer and submitted in PVC Hard Binding Clip Box File.

- Declaration of Compliance

We, the undersigned, hereby declare that the specified materials are in full compliance with the latest edition of KAHRAMAA “General Specification of Main Laying Materials for Waterworks” & subsequent modifications.

- Declaration of commitment:

- Please note that if the manufacturer or local agent is not committed to the below listed points, Kahramaa shall have the right to withdraw this approval or suspend it temporarily for specific periods.

- Supply the products and their conformity with the requirements and specifications of Kahramaa and their suitability for the purpose intended to be used in Potable water Networks, In accordance with the latest standards and regulations.

- If it is observed at any time during the validity period that the quality and performance are not in line with approved standards.

- In the event of changes in the design or in the properties of the materials or model number without notification,

- In the event of delay in the delivery of products to contractors which may cause delays to the project’s schedules.

Authorized Signature:

Manufacturer Stamp:

Date: